AGENCY APPROVAL DATE:  ______________

DRAFT

(to be removed upon final submittal)

[TEMPLATE FOR]

OPERATION AND MAINTENANCE PLAN

FOR STORMWATER LID FEATURES IN THE PUBLIC RIGHT-OF-WAY

for

[PROJECT NAME]

[date]
[revision date]

Created for The Town of Windsor

Public Works Department

8400 Windsor Road, Bldg. 100

Windsor, CA. 95492

Attn: Municipal Storm Water Manager

prepared by:

[Preparer’s Name]
[Preparer’s Contact Information]

Contents

Contents	3

INTRODUCTION	4

A.  Background	4

B.  Project Description	4

C.  Funding for and Organization of Feature Operation and Maintenance	5

DESIGNATION AND TRAINING OF RESPONSIBLE INDIVIDUALS	5

A. Designated Contact for Operation and Maintenance of Public LID BMPs	5

B. Training of Responsible Individuals	5

FEATURES TO BE MAINTAINED	6

A. Public LID BMP Feature Descriptions	6

B. Maintenance Activity Requirements	8

MAINTENANCE ACTIVITIES	10

A. General Maintenance Requirements	10

B. Routine Maintenance Checklists, Forms and Photos	10

C. Manufacturer’s Operation and Maintenance Manuals	11

ATTACHMENTS:

Attachment 1. Public LID BMP features

Attachment 2. Plat Map and Construction Details

Attachment 3. Manufacturer Operation and Maintenance Manuals

INTRODUCTION

#### A.  Background

Provide an introduction about Stormwater LID BMP Features. What is LID?

Suggested Language to include: Low Impact Design Best Management Practice (LID BMP) features are permanent, small scale, specialized landscape elements that capture, treat and infiltrate stormwater runoff. The soil and plants within these features filter stormwater by removing pollutants as nutrients.

This plan addresses operation and maintenance requirements of LID BMP features constructed as part of the following development project:

[project name].

Describe what a Stormwater Operation and Maintenance Plan is and what Public LID BMPs are included in the project.

Suggested Language to include: This Stormwater Operation and Maintenance Plan (O&M Plan) is for LID BMP features constructed as part of the above project. Construction of these features was required by the National Pollutant Discharge and Elimination System Municipal Separate Storm Sewer Drain System (NPDES MS4) Permit issued by the California State Water Quality Control Board and guided by the Santa Rosa LID Design Manual, adopted by the Town of Windsor. The NPDES MS4 Permit also requires the Town of Windsor to verify ongoing operation and maintenance of all LID BMP facilities in the Town per inspections every 2- 5 years or an annual self-certification be conducted. The Town Staff or contracted organization will document the self-certification and will keep a record of all routine maintenance and plant and media replacement.

This document is to be used as a guide to assist the Town in maintaining Public LID BMP features to ensure that they continue to operate as designed. Implementation of proper maintenance of the LID BMPs should allow the BMPs to function for their designed lifetime, removing pollutants and contributing to the health of the Russian River Watershed.

#### B.  Project Description

Describe in the present tense as if it is already constructed.

Provide a brief description of the project and a table with the number of each type of LID BMP features installed.

Table 1:  Number of Public LID BMP Features

| BMP Type | Number of Features |
| --- | --- |
| Bioretention Area | 3 |
| Infiltration Trench | 4 |
| Etc. | # |

Suggested language to include:

This O&M Plan may be modified but requires a review and approval by the Town of Windsor Public Works Department. The official O&M Plan is the version that is on file at the Town of Windsor Public Works Department.

#### C.  Funding for and Organization of Feature Operation and Maintenance

All public LID features must be legally transferred to the 1982 Act Assessment District before the Town will accept the LID features.  All Public LID features should be added to the 1982 Benefit Assessment District where funds are appropriated for O&M of the [XX] number of LID BMP features on an annual basis. Public Works Department staff, Parks Department, or subcontractors, experienced in LID BMP maintenance, will maintain features in perpetuity.

DESIGNATION AND TRAINING OF RESPONSIBLE INDIVIDUALS

#### A. Designated Contact for Operation and Maintenance of Public LID BMPs

Through the 1982 Act Assessment District Agreement, the Town is assigned O&M of the Public LID BMP features associated with this project.  The contact for this project O&M Plan is:

Town of Windsor, Public Works Department OR Parks Department
9201 Old Redwood Highway

Windsor, CA 95492

707-838-1000

Stormwater@TownofWindsor.com

#### B. Training of Responsible Individuals

Suggested language to include:

All personnel maintaining LID BMP features in the public right-of-way will require training by the Municipal Storm Water Program Manager before inspecting or maintaining features.  A record of the training will be retained by the Town of Windsor.

FEATURES TO BE MAINTAINED

#### A. Public LID BMP Feature Descriptions

Provide a detailed description of the Public LID BMPs installed. Include relevant information such as basic and structural elements, specific soil/media type, specific plant species used, irrigation present, piping dimensions, flow directions, and how the feature functions.

Suggested language to include:

  - Table of LID BMP Features

The following table indicates the Public LID BMP features required to be maintained.

Table 2: Public LID BMP Features

| LID BMP ID # (assign # to every BMP and label on map) | LID BMP Type | Length X Width X Depth (feet) | LID BMP Location | LID BMP Description |
| --- | --- | --- | --- | --- |
| See below for preferred Standard LID BMP ID # convention |  |  |  | Soil Type: Plants: Irrigation: Overflow Drains: # |
| Ex: BR-1 | BIORENTION | 25x5x5 | South of intersection of X and X., between the sidewalk and the curb. | Soil: Structural Plants: 10 Blue Rush, 4 Rosemary Irrigation: 10 irrigation heads Piping: Priority 3 piping and irrigation lines |

Use “LID Type” from the Santa Rosa LID Manual Fact sheets only, unless the LID BMP is a proprietary unit, then it should be described appropriately using the features stormwater mechanics in the name (Ex: TF and US below). Here is a link to the Town of Windsor version of the LID Manual: https://www.townofwindsor.com/1163/LID

| LID BMP ID | LID BMP Description |
| --- | --- |
| LF-# | Living Roofs |
| RH-# | Rainwater Harvest Tanks |
| TR-# | Interceptor Trees |
| VB-# | Vegetated Buffer Strips |
| BT-# | Bovine Terraces |
| ID-# | Impervious Area Disconnect |
| BR-# | Bioretention Area (includes Rain Gardens and Vegetative Swales) |
| CW-# IT | Constructed Wetlands |
| IT-# | Infiltration Trench |
| PP-# | Porous Pavement |
| FP-# | Flow-Through Planters |
|  | Proprietary Units |
| TF-# | Manufactured Tree Filter Unit |
| US-# | Manufactured Underground Storage System |

Common Brands for Tree Filter Units are Filterra and StormTree

Common brands for Underground Storage Systems are Cudo Cubes and StormTech.

“LID BMP Location” should be described in relation to a building or permanent structure and on a specific parcel that would allow for anyone to find the LID BMP. This description is in addition to the siting on a map.

Examples include:

- Northwestern corner of building on Parcel X

- Southside of parking lot

- Between buildings A and B

- Eastside of street

b. Labeled Site Map(s)

Suggested language to include:

Attachment 1 indicates the Public LID BMP features required to be maintained, for each parcel. Each LID BMP feature has been clearly color coded and labeled with a designated LID BMP # pertaining to the type of feature. The designated LID BMP # shall be used as an identifier when conducting annual inspections to ensure all features are getting maintained.

Provide a Legal Plat (Site Map) with each individual parcel separated on its own 8.5 x 11-inch sheet which includes:

  - Overview of entire site.

  - Drainage Maintenance Areas (DMAs) as expected at project completion

  - LID features, labeled to match the naming convention in the table above and color-coded by type

  - Table of LID features:

    - Sizing (length, width, depth; if shape is irregular, list largest length and width)

    - Feature names that correspond to Drainage Maintenance area numbers and reflect feature types. (Follow naming convention on table above.) Ex: DMA-1 has BR-1A, BR-1B (Bioretention) and TF-1 (Tree Filter)

All LID BMPs on the site map should be labeled with their assigned LID BMP ID # from the Table of LID BMP Features provided in the previous section. Each LID BMP should reference to the requested construction details in the following section. Please insert III.A.a Table of only the associated LID BMPs on that map.

c. Construction Details

Suggested language to include:

Attachment 2 includes the construction details for the Public LID BMP features required to be maintained in both plan view and cross-sectional views indicating all the items to be maintained: the sizes, the soil types, the piping, the plants, the irrigation, and the overflow piping.

Attach separate 8.5 x 11 construction details for each type of LID BMP feature. Details should be labeled appropriately, preferably with the terms listed in the III.A.a Table under “LID BMP Type.” and large enough to easily read.

#### B. Maintenance Activity Requirements

Describe how LID BMP feature operation and maintenance is funded on an ongoing basis in the present tense as if it is already constructed and all agreements are executed.

Operation and Maintenance of Public LID BMP features (those features located in the Public Right of Way) are being transferred to the Town of Windsor, through the 1982 Act Assessment District. The funding will be collected from the project area owners, placed in the Assessment District and the Town will use the funds to maintain them.

Records regarding annual inspections and maintenance shall be kept by the Town for at least five years and made available upon request to the governing agency.  These records shall include:

- Copies of completed inspection reports, and maintenance checklists to document any inspection and maintenance activities.

- Any corrective actions, replacements or repairs.

- Photos of the completed work, as listed above

- Estimated Budget

The following table summarized the best available cost for operation, maintenance, and replacement for each of the LID BMP features and can be used as a basis for the 1982 Act funding.

Table 4: Annual Estimated Budget for Operation and Maintenance

| No. of Features | LID BMP Feature Type | Estimated Annual Cost Per LID Feature Operation and Maintenance*(a) | Total Estimated Annual Cost Total | Cost of One Feature Replacement*(b) | Total Cost of All Feature Replacement |
| --- | --- | --- | --- | --- | --- |
| 3 ea. | Bioretention Swale | $ | $ | $ | $ |
| 2 ea. | Down Spout Disconnect | $ | $ | $ | $ |
| Total ____ Features and Total Estimate Annual Costs for O&M or Replacement |  |  |  | $ | $ |

*Notes:

  - Funding costs must include inspection and maintenance include personnel, trimming of plants, annual replacement of mulch, rock, weeding, debris removal, irrigation repair or replacement, pipe cleanout and disposal.  If mechanical means are required for annual maintenance, this cost must also be included.

  - Funding costs for replacement must include removal, replacement and disposal of plants, soils, contaminated material, trash, debris and mulch or rock.

- Plants & Mulch

Plants are an important factor in the function of the LID BMP features.  Plants must be selected from the approved Plant List in the Appendix F of the Santa Rosa LID Design Manual. It is the responsibility of the Town to keep plants alive and replant if plants have died. All LID features must be kept at least 50% planted and leave no bare soils showing. Arbor mulch is required at a minimum depth of 3 inches to prevent soil erosion in the LID feature. Bark, rubber or synthetic mulches are not permitted.

MAINTENANCE ACTIVITIES

#### A. General Maintenance Requirements

The Town will maintain all Public LID BMP features and will complete the appropriate Maintenance and Inspection Checklists attached with updated checklists found on the Town’s website at 2022-LID-Maintenance-Inspection-Form (townofwindsor.com) with photos, before the rainy season begins, by September 15th every 2 years.  All records will be kept by the Town.

#### B. Routine Maintenance Checklists, Forms and Photos

## Inspections

Conduct inspections quarterly, to identify needed maintenance and record maintenance that has been conducted using the Maintenance and Inspection Checklist.

## Maintenance Requirements and Schedule

Maintenance work shall be completed as indicated and at the frequency listed below in the Public LID Feature Routine Summary Table. Additional work may be required on an as-needed basis.  The semi-annual work shall be completed prior to and following the rainy season, as indicated in the tables.

Provide any traffic control or barrier devices needed to complete the work in the right-of-way.

Plants should be pruned to maintain growth within space limitations, to maintain or enhance the natural growth habit, or to eliminate diseased or damaged growth. All shrubs must be trimmed as needed to permit unobstructed passage to residents and vehicles line of sight, especially near corner intersections. Trimming near vehicular entry or exits shall be carried out to prevent sight restrictions. Plants shall be pruned to conform with the design concept of the landscape. Individual shrubs shall not be clipped into balled or boxed forms, except where specifically instructed. All plants shall be observed for signs of nutrient deficiencies and treated to correct deficiencies throughout the year. Please note, the Town of Windsor does not allow any synthetic pesticides to be used in any LID landscaping areas.

All tree stakes and ties shall be maintained to properly support the tree. All trees shall be pruned to promote structural strength and to accentuate the natural form and features of the tree. Pruning must be carried out to permit unobstructed passage to pedestrians and motor vehicles and to prevent sight restrictions near intersections. This means that branches should be maintained to 8-ft. above sidewalks and 14 ft. above vehicular areas. Shrubs and groundcover must be trimmed 3 in. from sidewalks and curbs. Lower branches should be cut off only after the tree is able to stand erect without staking or other support. Thinning of certain species and individual specimens may be required to prevent wind damage. Suckers, water sprouts, rubbing and heavily laden branches shall be removed to provide less wind resistance. Most trees shall be fertilized annually, in the spring, with a complete organic fertilizer, but fertilization of mature trees shall be required only if the trees show a definite need for fertilization. Fertilizer shall be applied around the tree, approximately halfway between the trunk and the dripline, at the rate of one-half pound of nitrogen per inch of trunk diameter measured at four feet above the soil surface. All trees shall be observed for signs of nutrient deficiencies and treated to correct deficiencies throughout the year.

Litter and trash including leaves, rubbish, paper, bottles, cans, and and other debris shall be removed from all areas at every visit. All refuse resulting from the maintenance operation of properties shall be disposed of at an approved green waste recycling facility or at a green waste area at a landfill. Hardscape (i.e. sidewalks, roadways and driveways) shall be swept free of debris.  Trimmings are not allowed to be left along gutters.

Include the Routine Maintenance Templates below that apply or create one similarly for each type of LID BMP Feature associated with project.   Take photos of each LID BMP Feature after maintenance has been completed.

#### C. Manufacturer’s Operation and Maintenance Manuals

If there are specific manufacturer instructions, then attach the maintenance information as Attachment 3.

Attach only the following Routine Maintenance Checklists if they apply to the project.  Remove those that do not apply.

Bioretention Feature Routine Maintenance

Routine Maintenance Activities for Bioretention Features

The principal maintenance objective is to prevent sediment buildup and clogging, which reduces pollutant removal efficiency and may lead to bioretention area failure. Routine maintenance activities, and the frequency at which they will be conducted, are shown in Table 1.

Inspections

The attached Maintenance and Inspection Checklist shall be used to conduct inspections monthly (or as needed), identify needed maintenance, and record maintenance that is conducted.

| Routine Maintenance Activities for Bioretention Features |  |  |
| --- | --- | --- |
| No. | Maintenance Task | Frequency of Task |
| 1 | Remove obstructions, weeds, debris, and trash from the bioretention area and its inlets and outlets; and dispose of properly. | Quarterly, or as needed after storm events |
| 2 | Inspect bioretention area for standing water. If standing water does not drain within 2-3 days, till and replace the surface biotreatment soil with the approved soil mix and replant. | Quarterly, or as needed after storm events |
| 3 | Check underdrains for clogging. Use the cleanout riser to clean any clogged underdrains. | Quarterly, or as needed after storm events |
| 4 | Maintain the irrigation system and ensure that plants are receiving the correct amount of water (if applicable). | Quarterly |
| 5 | Ensure that the vegetation is healthy and dense enough to provide filtering and protect soils from erosion. Prune and weed the bioretention area. Remove and/or replace any dead plants. | Annually, before the wet season begins |
| 6 | Use compost and other natural soil amendments and fertilizers instead of synthetic fertilizers, especially if the system uses an underdrain. | Annually, before the wet season begins |
| 7 | Check that mulch is at appropriate depth (2 - 3 inches per soil specifications) and replenish as necessary before the wet season begins. It is recommended that 2” – 3” of arbor mulch be reapplied every year. | Annually, before the wet season begins |
| 8 | Inspect the energy dissipation at the inlet to ensure it is functioning adequately, and that there is no scour of the surface mulch. Remove accumulated sediment. | Annually, before the wet season begins |
| 9 | Inspect the overflow pipe to ensure that it can safely convey excess flows to a storm drain. Repair or replace damaged piping. | Annually, before the wet season begins |
| 10 | Replace biotreatment soil and mulch, if needed. Check for standing water, structural failure, and clogged overflows. Remove trash and debris. Replace dead plants. | Annually at the end of the rainy season, and/or after large storm events |
| 11 | Inspect the bioretention area using the attached inspection checklist. | Annually, before the wet season |

Flow-Through Planter Routine Maintenance

Routine Maintenance Activities

The principal maintenance objectives are to ensure that water flows unimpeded into the flow-through planter and landscaping remains attractive. Table 1 shows the routine maintenance activities and the frequency at which they will be conducted.

Inspections

Use the attached Maintenance and Inspection Checklist to conduct inspections monthly (or as needed), identify needed maintenance, and record maintenance that is conducted.

| Routine Maintenance Activities for Flow-Through Planters |  |  |
| --- | --- | --- |
| No. | Maintenance Task | Frequency of Task |
| 1 | Inspect the planter surface area, inlets, and outlets for obstructions and trash; clear any obstructions and remove trash. | Quarterly |
| 2 | Inspect planter for standing water. If standing water does not drain within 2- 3 days, the surface biotreatment soil should be tilled or replaced with the approved soil mix and replanted. Use the cleanout riser to clear any underdrains of obstructions or clogging material. | Quarterly |
| 3 | Check for eroded or settled biotreatment soil media. Level soil with a rake and remove/replant vegetation as necessary. | Quarterly |
| 4 | Maintain the vegetation and irrigation system. Prune and weed to keep flow-through planter neat and orderly in appearance. | Quarterly |
| 5 | Evaluate the health and density of vegetation. Remove and replace all dead and diseased vegetation. Remove excessive growth of plants that are too close together. | Annually, before the rainy season begins |
| 6 | Use compost and other natural soil amendments and fertilizers instead of synthetic fertilizers, especially if the system uses an underdrain. | Annually, before the rainy season begins |
| 7 | Inspect the overflow pipe to make sure that it can safely convey excess flows to a storm drain. Repair or replace any damaged or disconnected piping. Use the cleanout riser to clear underdrains of obstructions or clogging material. | Annually, before the rainy season begins |
| 8 | Inspect the energy dissipater at the inlet to ensure it is functioning adequately, and that there is no scour of the surface mulch. Remove any accumulation of sediment. | Annually, before the rainy season begins |
| 9 | Inspect and, if needed, replace the wood mulch. It is recommended that 2" to 3" of composted arbor mulch be applied once a year. | Annually, before the rainy season begins |
| 10 | Inspect system for erosion of biotreatment soil media, loss of mulch, standing water, clogged overflows, weeds, trash, and dead plants. If using rock mulch, check for 3” of coverage. | Annually at the end of the rainy season and/or after large storm events, |

Infiltration Trench Routine Maintenance

Routine Maintenance Activities

The principal maintenance objective is to prevent sediment buildup and clogging, which reduces pollutant removal efficiency and may lead to trench failure. Routine maintenance activities, and the frequency at which they will be conducted, are shown in Table 1.

Inspections

Use the attached Maintenance and Inspection Checklist to conduct inspections monthly (or as needed), identify needed maintenance, and record maintenance that is conducted.

| Routine Maintenance Activities for Infiltration Trenches |  |  |
| --- | --- | --- |
| No. | Maintenance Task | Frequency of Task |
| 1 | Monitor observation well to confirm that the trench has drained during the dry season. If inspection indicates that the trench is partially or completely clogged, restore to design conditions. | Annually, during the dry season |
| 2 | Remove obstructions, debris, and trash from the infiltration trench and dispose of properly. | Monthly, or as needed after storm events |
| 3 | Check observation well 2 to 3 days after storms to confirm drainage. The trench should completely dewater within 5 days. | Monthly during the wet season, or as needed after storm events |
| 4 | Mow and trim vegetation around the trench to maintain a neat and orderly appearance. | As needed |
| 5 | Remove any trash, grass clippings and other debris from the trench perimeter and dispose of properly. | As needed |
| 6 | Check for erosion at inflow or overflow structures. Repair as necessary. | Monthly, or as needed after storm events |
| 7 | Inspect the infiltration trench using the attached inspection checklist. | Monthly, or after large storm events, and after removal of accumulated debris or material |

Porous Pavement Routine Maintenance

Routine Maintenance Activities

Types of porous pavement include pervious concrete, porous asphalt, and permeable interlocking concrete pavement (PICP), concrete grid pavers, and plastic reinforcement grid pavers. The principal maintenance objective is to prevent sediment buildup and clogging, which reduces infiltration capacity and pollutant removal efficiency. Routine maintenance activities, and the frequency at which they will be conducted, are shown in Table 1.

Inspections

Use the attached Maintenance and Inspection Checklist to conduct inspections monthly (or as needed), identify needed maintenance, and record maintenance that is conducted.

| Routine Maintenance Activities for Porous Paving Features |  |  |
| --- | --- | --- |
| No. | Maintenance Task | Frequency of Task |
| 1 | Check for sediment and debris accumulation. Prevent soil from washing or blowing onto the pavement. Do not store sand, soil, mulch or other landscaping materials on pervious pavement surfaces. | Monthly |
| 2 | Conduct preventative surface cleaning, using commercially available regenerative air or vacuum sweepers, to remove sediment and debris. | Monthly |
| 3 | Inspect for any signs of pavement failure. Repair any surface deformations or broken pavers. Replace missing joint filler in PICP. | Two to four times annually |
| 4 | Check for standing water on the pavement surface within 30 minutes after a storm event. | Two to four times annually |
| 5 | Inspect underdrain outlets and cleanouts, preferably before the wet season. Remove trash/debris. | Two to four times annually |
| 6 | Remove sediment and debris accumulation on pervious pavement. | Monthly |
| 7 | Remove weeds. Mow vegetation in grid pavements (such as turf block) as needed. | As needed |
| 8 | Perform restorative surface cleaning with a vacuum sweeper, and/or reconstruction of part of the pervious surface to restore surface permeability as needed. Replenish aggregate in PICP joints or grids as needed after restorative surface cleaning. | As needed |
| 9 | Power washing with simultaneous vacuuming also can be used to restore surface infiltration to highly clogged areas of pervious concrete, porous asphalt or PICP, but is not recommended for grid pavements. | Monthly |
| 10 | Inspect the pervious paving area using the attached inspection checklist. | Quarterly or as needed |

Rainwater Harvesting Systems Routine Maintenance

Routine Maintenance Activities

The principal maintenance objective is to prevent sediment buildup and clogging, which reduce rainwater harvesting capacity. Routine maintenance activities, and the frequency at which they will be conducted, are shown in Table 1.

Inspections

Use the attached Maintenance and Inspection Checklist to conduct inspections monthly (or as needed), identify needed maintenance, and record maintenance that is conducted.

| Routine Maintenance Activities for Rainwater Harvesting |  |  |
| --- | --- | --- |
| No. | Maintenance Task | Frequency of Task |
| 1 | Inspect and clean filters and screens and replace as needed. | Every 3-6 months |
| 2 | Inspect and clean debris from gutters, downspouts, first- flush devices and roof washers. | Every 3-6 months |
| 3 | Inspect and verify that disinfection, filters, and other water quality treatment devices are operational, in accordance with manufacture’s recommendations or local jurisdictional requirements | Every 3-6 months |
| 4 | Inspect and clean debris from rainwater gutters, roof surfaces, downspouts, roof washers, and first-flush devices, remove tree branches and vegetation overhanging roof surfaces. | Every 6 months, or as needed to prevent clogging |
| 5 | If rainwater is provided for indoor use, conduct annual water quality testing per the requirements of the local jurisdiction. | Annually |
| 6 | Inspect all components, including pumps, valves, tanks, backflow prevention systems, and verify operation. | Annually |
| 7 | Flush or vacuum cisterns to remove sediment. Drain flushed water to landscaping or sanitary sewer. | Annually |
| 8 | Inspect rainwater harvesting systems using the attached inspection checklist. | Quarterly or as needed |

Impervious Area Disconnect

Routine Maintenance Activities

Types of Impervious Area Disconnect include splash blocks, rain chains, bubble up emitters, and pavement disconnect. The principal maintenance objective is to prevent sediment/debris buildup and clogging, so that water can flow unimpeded to its designated area. Routine maintenance activities, and the frequency at which they will be conducted, are shown in Table 1.

Inspections

Use the attached Maintenance and Inspection Checklist to conduct inspections monthly (or as needed), identify needed maintenance, and record maintenance that is conducted.

| Routine Maintenance Activities for Rainwater Harvesting Systems |  |  |
| --- | --- | --- |
| No. | Maintenance Task | Frequency of Task |
| 1 | Reposition splash block, or dissipaters to reduce excessive spraying, ponding /standing water, or if there is any evidence of undercutting or wash outs around the area. | As needed |
| 2 | Inspect and clean debris from gutters, roof surfaces, downspouts, bubble up emitter pipes, and inlets/outlets. | Every 3-6 months, or as needed to prevent clogging |
| 3 | Inspect and verify the feature is operational and structurally sound. Check for any leaks, voids/ holes, missing/broken parts, or other damages. | Every 3-6 months |
| 4 | Inspect Impervious Area Disconnects using the attached inspection checklist. | Quarterly or as needed |

[LID BMP TYPE]

Routine Maintenance Activities

Suggest language to include: The principal maintenance objective is to [ describe]. Routine maintenance activities, and the frequency at which they will be conducted, are shown in Table 1.

Inspections

Suggest language to include: Use the attached Maintenance and Inspection Checklist to conduct inspections monthly (or as needed), identify needed maintenance, and record maintenance that is conducted.

| Routine Maintenance Activities for [LID BMP Type] |  |  |
| --- | --- | --- |
| No. | Maintenance Task | Frequency of Task |
| 1 |  | As needed, Every 3-6 months, quarterly, 2-4 times annually, semiannually |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |

Refer to previous templates for similar language.

Attachment 1

Public LID BMP features

Attachment 2

Plat Map and Construction Details

Attachment 3

Manufacturer Operation and Maintenance Manuals